Risk Assessment Form

| Date: | Assessed by: | Validated by: | Location: |  | Review date: One year from issue or if significant changes |
| --- | --- | --- | --- | --- | --- |
| Task Use of water-baths. (It is assumed that these will be thermostatically controlled heated or cooled systems with or without a mechanical shaking facility and with or without a water circulating system, and operating within the range 1 - 95oC). |

| Activity | Hazard | Person(s) in danger | Existing measures to control risk | Risk rating | Result |
| --- | --- | --- | --- | --- | --- |
| Use of water-baths. | Manual handling | User | Water-baths (particularly when full of water) are very heavy and care must be taken when moving them. Trolley to be used if moving water-bath to a different location. All users are trained in correct manual handling techniques, and in the use of the water-baths by their supervisor | Low | A |
|  | Mechanical injury | User | Risk of mechanical injury to hands and trapping hair/clothing in water circulation impellor or shaking mechanism. Care should be taken when inserting/removing items from the water-bath. Hair should be tied back. The following items of PPE must be worn: laboratory coat and BS EN374 compliant gloves (nitrile), safety glasses. Use a cover over the water-bath if possible. | Low | A |
|  | Electrical hazard – risk of shock | User | During training by competent personnel, all users are made aware of potential risks from electric shocks. Always consult manufacturer’s information. Visual check before use. All equipment is annually PAT tested. Equipment with out of date, failed or untested labels are not be used until retested. Any obvious danger, sparks/damaged cables are reported immediately to technical staff/line manager/supervisor and the equipment removed from use. Ensure hands are dry before plugging in, switching on, etc, to avoid danger of electrocution. | Low | A |
|  | Fire hazard | Users and others in the vicinity | Risk of fire if the water-bath is allowed to overheat or “boil dry”. All water-baths should be turned off after use, and the water level checked (and topped up if necessary) to prevent them from drying out. | Low | A |
|  | Hot water – risk of burns | Users | Care must be taken when using water-baths at high temperatures, and thermal gloves EN407 must be used to remove items from hot water-baths. | Low | A |
|  | Biological hazard (legionella) | Users and others in the vicinity | In continuous operation over long periods of time (< 24Hr.) there may be an accumulation and multiplication of pathogenic organisms in the water which may pose a biological hazard, particularly during emptying and cleaning. If the bath is to be used continuously for an extended period i.e. >24hr - prevent the build up of unwanted and possibly pathogenic organisms in the bath water by using an appropriate algaecide/fungicide/bactericide. This must be compatible with the tank materials and other components minimising risks from corrosion and leaks/electrical failures. Various proprietary products are available - consult manufacturer’s literature and colleagues. Any product selected must be subject to a CRA assessment before use and may require the use of PPE. Water-baths must be cleaned after use, decontaminated and thoroughly cleaned on a regular basis to avoid legionella risks. Weekly cleaning is recommended. | Low | A |
| Changing water after a long period of inactivity | Breathing in small droplets of contaminated water with bacteria causing Legionnaires’ disease (Legionella). | Users of the chiller and water baths, mainly students and technicians. | To mitigate Legionella: Heat to 60 degrees Celsius for 1 hour. OR make up 0.5% hypochlorite (i.e., bleach) within the bath and leave for 1 hour at room temp. Slowly empty out decontaminated water into a suitable sink or drain (preferably in a fume cupboard sink) without making splashes. Flush sink thoroughly afterwards. | Low | A |

Authorisation by PI/ line manager I confirm that I have considered and understand the experiment and the associated hazards. I am satisfied that all of the hazards have been identified and that the control measures to be followed will reduce the risks to acceptable levels. Print name: Signed: Date:

I confirm that I have read this Risk Assessment and that I understand the hazards and risks involved and will follow all of the safety procedures stated. Where PPE has been identified as a control measure, I will ensure that it is worn.

| Name (please print) | signed | PI/Line Manager countersignature | date |
| --- | --- | --- | --- |